## Cover
CogenS Validation — Audit Trace Sample
Module | bess
Stage | 6
Case Code | STAGE6_BESS_HONEYW+SUNGRO_KW0500+06250
Reference Engine | EnergyPlus ElectricLoadCenter:Storage:Simple (matched-handshake eta = sqrt(spec_rte)) run separately for spec A, spec B, and the Combined (kw_a + kw_b, kwh_a + kwh_b) bank. PySAM 7.1.1 Battery analytical bulk RTE per spec. Real cross-engine evidence for each nameplate plus a cross-engine two-size composition consistency gate.
EnergyPlus Version | unknown
PySAM Version | 7.1.1.post1
Weather File
Horizon (hours)
Timestep (minutes)
Applied Scoring Band | ASHRAE strict
Overall Passed | True
Documented Tier 2 Regime | False
Documented Exclusion | False
Regime Rationale
How to read this workbook
Sheet 2 Inputs — every parameter both engines received for this scenario.
Sheet 3 CogenS Output — hour-by-hour CogenS engine outputs.
Sheet 4 Reference Output — hour-by-hour reference-engine outputs (EnergyPlus / SAM / analytical envelope).
Sheet 5 Comparison + Tolerances — cogens vs reference per step, plus live Excel formulas computing annual % deviation, NMBE, and CV(RMSE) at the bottom. Change the threshold cells in row 'tolerance_pct' and the pass/fail verdict recalculates.
Sheet 6 Gates — every gate scored against this case with cogens / reference / tolerance / pass-fail.
Sheet 7 Charts — line charts comparing CogenS vs reference for each side-by-side metric.
Raw artifacts (under the same case directory)
inputs.json cogens_output.csv reference_output.csv side_by_side.csv gate_results.json
ep_run/ — complete EnergyPlus run directory (.idf .eso .sql .eio .err .csv)

## Inputs
Scenario parameters fed to both engines
Parameter | Value | Group
spec_a.case_code | STAGE6_BESS_HONEYW+SUNGRO_KW0500+06250_A | spec_a
spec_a.vendor | Honeywell | spec_a
spec_a.series | BESS_40ft | spec_a
spec_a.model | Min Config 1H | spec_a
spec_a.is_ac_block | TRUE | spec_a
spec_a.num_units | 1 | spec_a
spec_a.rated_dc_capacity_kwh | 500 | spec_a
spec_a.rated_dc_power_kw | 500 | spec_a
spec_a.battery_dc_rte | 0.98 | spec_a
spec_a.pcs_acdc_coefficients | 1.0, 0.0, 0.0, 0.0 | spec_a
spec_a.pcs_dcac_coefficients | 1.0, 0.0, 0.0, 0.0 | spec_a
spec_a.other_efficiency | 1 | spec_a
spec_a.min_soc_fraction | 0.1 | spec_a
spec_a.max_soc_fraction | 0.95 | spec_a
spec_a.initial_soc_fraction | 0.5 | spec_a
spec_a.annual_degradation_pct | 0 | spec_a
spec_a.oadb_deg_per_10f_pct | 0 | spec_a
spec_a.oadb_threshold_f | 77 | spec_a
spec_a.cycle_degradation_coefficients | None | spec_a
spec_a.replacement_mode | Replace at specified capacity | spec_a
spec_a.replacement_threshold_fraction | 0.8 | spec_a
spec_a.replacement_schedule_years | [] | spec_a
spec_a.num_hours | 168 | spec_a
spec_a.timestep_minutes | 60 | spec_a
spec_a.measurement_system | Metric (SI) | spec_a
spec_a.dispatch_pattern | alternating | spec_a
spec_a.dispatch_plr | 0.2 | spec_a
spec_a.half_cycle_hours | 2 | spec_a
spec_a.eep_profile_kw_override | None | spec_a
spec_a.outdoor_drybulb_c | 25 | spec_a
spec_a.outdoor_drybulb_profile_c | None | spec_a
spec_b.case_code | STAGE6_BESS_HONEYW+SUNGRO_KW0500+06250_B | spec_b
spec_b.vendor | Sungrow | spec_b
spec_b.series | PowerTitan 3.0 | spec_b
spec_b.model | PT3.0 30ft Plus 12.5MWh 2-Hour | spec_b
spec_b.is_ac_block | TRUE | spec_b
spec_b.num_units | 1 | spec_b
spec_b.rated_dc_capacity_kwh | 12500 | spec_b
spec_b.rated_dc_power_kw | 6250 | spec_b
spec_b.battery_dc_rte | 0.96 | spec_b
spec_b.pcs_acdc_coefficients | 1.0, 0.0, 0.0, 0.0 | spec_b
spec_b.pcs_dcac_coefficients | 1.0, 0.0, 0.0, 0.0 | spec_b
spec_b.other_efficiency | 1 | spec_b
spec_b.min_soc_fraction | 0.1 | spec_b
spec_b.max_soc_fraction | 0.95 | spec_b
spec_b.initial_soc_fraction | 0.5 | spec_b
spec_b.annual_degradation_pct | 0 | spec_b
spec_b.oadb_deg_per_10f_pct | 0 | spec_b
spec_b.oadb_threshold_f | 77 | spec_b
spec_b.cycle_degradation_coefficients | None | spec_b
spec_b.replacement_mode | Replace at specified capacity | spec_b
spec_b.replacement_threshold_fraction | 0.8 | spec_b
spec_b.replacement_schedule_years | [] | spec_b
spec_b.num_hours | 168 | spec_b
spec_b.timestep_minutes | 60 | spec_b
spec_b.measurement_system | Metric (SI) | spec_b
spec_b.dispatch_pattern | alternating | spec_b
spec_b.dispatch_plr | 0.2 | spec_b
spec_b.half_cycle_hours | 2 | spec_b
spec_b.eep_profile_kw_override | None | spec_b
spec_b.outdoor_drybulb_c | 25 | spec_b
spec_b.outdoor_drybulb_profile_c | None | spec_b
spec_combined.case_code | STAGE6_BESS_HONEYW+SUNGRO_KW0500+06250_COMBINED | spec_combined
spec_combined.vendor | Honeywell+Sungrow | spec_combined
spec_combined.series | BESS_40ft+PowerTitan 3.0 | spec_combined
spec_combined.model | Min Config 1H+PT3.0 30ft Plus 12.5MWh 2-Hour | spec_combined
spec_combined.is_ac_block | TRUE | spec_combined
spec_combined.num_units | 1 | spec_combined
spec_combined.rated_dc_capacity_kwh | 13000 | spec_combined
spec_combined.rated_dc_power_kw | 6750 | spec_combined
spec_combined.battery_dc_rte | 0.97 | spec_combined
spec_combined.pcs_acdc_coefficients | 1.0, 0.0, 0.0, 0.0 | spec_combined
spec_combined.pcs_dcac_coefficients | 1.0, 0.0, 0.0, 0.0 | spec_combined
spec_combined.other_efficiency | 1 | spec_combined
spec_combined.min_soc_fraction | 0.1 | spec_combined
spec_combined.max_soc_fraction | 0.95 | spec_combined
spec_combined.initial_soc_fraction | 0.5 | spec_combined
spec_combined.annual_degradation_pct | 0 | spec_combined
spec_combined.oadb_deg_per_10f_pct | 0 | spec_combined
spec_combined.oadb_threshold_f | 77 | spec_combined
spec_combined.cycle_degradation_coefficients | None | spec_combined
spec_combined.replacement_mode | Replace at specified capacity | spec_combined
spec_combined.replacement_threshold_fraction | 0.8 | spec_combined
spec_combined.replacement_schedule_years | [] | spec_combined
spec_combined.num_hours | 168 | spec_combined
spec_combined.timestep_minutes | 60 | spec_combined
spec_combined.measurement_system | Metric (SI) | spec_combined
spec_combined.dispatch_pattern | alternating | spec_combined
spec_combined.dispatch_plr | 0.2 | spec_combined
spec_combined.half_cycle_hours | 2 | spec_combined
spec_combined.eep_profile_kw_override | None | spec_combined
spec_combined.outdoor_drybulb_c | 25 | spec_combined
spec_combined.outdoor_drybulb_profile_c | None | spec_combined
metadata.spec_a_vendor | Honeywell | metadata
metadata.spec_a_model | Min Config 1H | metadata
metadata.spec_a_kw | 500 | metadata
metadata.spec_a_kwh | 500 | metadata
metadata.spec_a_rte | 0.98 | metadata
metadata.spec_b_vendor | Sungrow | metadata
metadata.spec_b_model | PT3.0 30ft Plus 12.5MWh 2-Hour | metadata
metadata.spec_b_kw | 6250 | metadata
metadata.spec_b_kwh | 12500 | metadata
metadata.spec_b_rte | 0.96 | metadata
metadata.spec_combined_kw | 6750 | metadata
metadata.spec_combined_kwh | 13000 | metadata
metadata.spec_combined_rte | 0.97 | metadata

## CogenS Output
CogenS engine outputs (per-step)
hour | combined_charge_ac_kw | combined_discharge_ac_kw
0 | 1350 | 0
1 | 1350 | 0
2 | 0 | 1350
3 | 0 | 1350
4 | 1350 | 0
5 | 1350 | 0
6 | 0 | 1350
7 | 0 | 1350
8 | 1350 | 0
9 | 1350 | 0
10 | 0 | 1350
11 | 0 | 1350
12 | 1350 | 0
13 | 1350 | 0
14 | 0 | 1350
15 | 0 | 1350
16 | 1350 | 0
17 | 1350 | 0
18 | 0 | 1350
19 | 0 | 1350
20 | 1350 | 0
21 | 1350 | 0
22 | 0 | 1350
23 | 0 | 1350
24 | 1350 | 0
25 | 1350 | 0
26 | 0 | 1350
27 | 0 | 1350
28 | 1350 | 0
29 | 1350 | 0
30 | 0 | 1350
31 | 0 | 1350
32 | 1350 | 0
33 | 1350 | 0
34 | 0 | 1350
35 | 0 | 1350
36 | 1350 | 0
37 | 1350 | 0
38 | 0 | 1350
39 | 0 | 1350
40 | 1350 | 0
41 | 1350 | 0
42 | 0 | 1350
43 | 0 | 1350
44 | 1350 | 0
45 | 1350 | 0
46 | 0 | 1350
47 | 0 | 1350
48 | 1350 | 0
49 | 1350 | 0
50 | 0 | 1350
51 | 0 | 1350
52 | 1350 | 0
53 | 1350 | 0
54 | 0 | 1350
55 | 0 | 1350
56 | 1350 | 0
57 | 1350 | 0
58 | 0 | 1350
59 | 0 | 1350
60 | 1350 | 0
61 | 1350 | 0
62 | 0 | 1350
63 | 0 | 1350
64 | 1350 | 0
65 | 1350 | 0
66 | 0 | 1350
67 | 0 | 1350
68 | 1350 | 0
69 | 1350 | 0
70 | 0 | 1350
71 | 0 | 1350
72 | 1350 | 0
73 | 1350 | 0
74 | 0 | 1350
75 | 0 | 1350
76 | 1350 | 0
77 | 1350 | 0
78 | 0 | 1350
79 | 0 | 1350
80 | 1350 | 0
81 | 1350 | 0
82 | 0 | 1350
83 | 0 | 1350
84 | 1350 | 0
85 | 1350 | 0
86 | 0 | 1350
87 | 0 | 1350
88 | 1350 | 0
89 | 1350 | 0
90 | 0 | 1350
91 | 0 | 1350
92 | 1350 | 0
93 | 1350 | 0
94 | 0 | 1350
95 | 0 | 1350
96 | 1350 | 0
97 | 1350 | 0
98 | 0 | 1350
99 | 0 | 1350
100 | 1350 | 0
101 | 1350 | 0
102 | 0 | 1350
103 | 0 | 1350
104 | 1350 | 0
105 | 1350 | 0
106 | 0 | 1350
107 | 0 | 1350
108 | 1350 | 0
109 | 1350 | 0
110 | 0 | 1350
111 | 0 | 1350
112 | 1350 | 0
113 | 1350 | 0
114 | 0 | 1350
115 | 0 | 1350
116 | 1350 | 0
117 | 1350 | 0
118 | 0 | 1350
119 | 0 | 1350
120 | 1350 | 0
121 | 1350 | 0
122 | 0 | 1350
123 | 0 | 1350
124 | 1350 | 0
125 | 1350 | 0
126 | 0 | 1350
127 | 0 | 1350
128 | 1350 | 0
129 | 1350 | 0
130 | 0 | 1350
131 | 0 | 1350
132 | 1350 | 0
133 | 1350 | 0
134 | 0 | 1350
135 | 0 | 1350
136 | 1350 | 0
137 | 1350 | 0
138 | 0 | 1350
139 | 0 | 1350
140 | 1350 | 0
141 | 1350 | 0
142 | 0 | 1350
143 | 0 | 1350
144 | 1350 | 0
145 | 1350 | 0
146 | 0 | 1350
147 | 0 | 1350
148 | 1350 | 0
149 | 1350 | 0
150 | 0 | 1350
151 | 0 | 1350
152 | 1350 | 0
153 | 1350 | 0
154 | 0 | 1350
155 | 0 | 1350
156 | 1350 | 0
157 | 1350 | 0
158 | 0 | 1350
159 | 0 | 1350
160 | 1350 | 0
161 | 1350 | 0
162 | 0 | 1350
163 | 0 | 1350
164 | 1350 | 0
165 | 1350 | 0
166 | 0 | 1350
167 | 0 | 1350

## Reference Output
Reference engine outputs — EnergyPlus ElectricLoadCenter:Storage:Simple (matched-handshake eta = sqrt(spec_rte)) run separately for spec A, spec B, and the Combined (kw_a + kw_b, kwh_a + kwh_b) bank. PySAM 7.1.1 Battery analytical bulk RTE per spec. Real cross-engine evidence for each nameplate plus a cross-engine two-size composition consistency gate.
hour | combined_charge_ac_kw | combined_discharge_ac_kw
0 | 1350 | 0
1 | 1350 | 0
2 | 0 | 1350
3 | 0 | 1350
4 | 1350 | 0
5 | 1350 | 0
6 | 0 | 1350
7 | 0 | 1350
8 | 1350 | 0
9 | 1350 | 0
10 | 0 | 1350
11 | 0 | 1350
12 | 1350 | 0
13 | 1350 | 0
14 | 0 | 1350
15 | 0 | 1350
16 | 1350 | 0
17 | 1350 | 0
18 | 0 | 1350
19 | 0 | 1350
20 | 1350 | 0
21 | 1350 | 0
22 | 0 | 1350
23 | 0 | 1350
24 | 1350 | 0
25 | 1350 | 0
26 | 0 | 1350
27 | 0 | 1350
28 | 1350 | 0
29 | 1350 | 0
30 | 0 | 1350
31 | 0 | 1350
32 | 1350 | 0
33 | 1350 | 0
34 | 0 | 1350
35 | 0 | 1350
36 | 1350 | 0
37 | 1350 | 0
38 | 0 | 1350
39 | 0 | 1350
40 | 1350 | 0
41 | 1350 | 0
42 | 0 | 1350
43 | 0 | 1350
44 | 1350 | 0
45 | 1350 | 0
46 | 0 | 1350
47 | 0 | 1350
48 | 1350 | 0
49 | 1350 | 0
50 | 0 | 1350
51 | 0 | 1350
52 | 1350 | 0
53 | 1350 | 0
54 | 0 | 1350
55 | 0 | 1350
56 | 1350 | 0
57 | 1350 | 0
58 | 0 | 1350
59 | 0 | 1350
60 | 1350 | 0
61 | 1350 | 0
62 | 0 | 1350
63 | 0 | 1350
64 | 1350 | 0
65 | 1350 | 0
66 | 0 | 1350
67 | 0 | 1350
68 | 1350 | 0
69 | 1350 | 0
70 | 0 | 1350
71 | 0 | 1350
72 | 1350 | 0
73 | 1350 | 0
74 | 0 | 1350
75 | 0 | 1350
76 | 1350 | 0
77 | 1350 | 0
78 | 0 | 1350
79 | 0 | 1350
80 | 1350 | 0
81 | 1350 | 0
82 | 0 | 1350
83 | 0 | 1350
84 | 1350 | 0
85 | 1350 | 0
86 | 0 | 1350
87 | 0 | 1350
88 | 1350 | 0
89 | 1350 | 0
90 | 0 | 1350
91 | 0 | 1350
92 | 1350 | 0
93 | 1350 | 0
94 | 0 | 1350
95 | 0 | 1350
96 | 1350 | 0
97 | 1350 | 0
98 | 0 | 1350
99 | 0 | 1350
100 | 1350 | 0
101 | 1350 | 0
102 | 0 | 1350
103 | 0 | 1350
104 | 1350 | 0
105 | 1350 | 0
106 | 0 | 1350
107 | 0 | 1350
108 | 1350 | 0
109 | 1350 | 0
110 | 0 | 1350
111 | 0 | 1350
112 | 1350 | 0
113 | 1350 | 0
114 | 0 | 1350
115 | 0 | 1350
116 | 1350 | 0
117 | 1350 | 0
118 | 0 | 1350
119 | 0 | 1350
120 | 1350 | 0
121 | 1350 | 0
122 | 0 | 1350
123 | 0 | 1350
124 | 1350 | 0
125 | 1350 | 0
126 | 0 | 1350
127 | 0 | 1350
128 | 1350 | 0
129 | 1350 | 0
130 | 0 | 1350
131 | 0 | 1350
132 | 1350 | 0
133 | 1350 | 0
134 | 0 | 1350
135 | 0 | 1350
136 | 1350 | 0
137 | 1350 | 0
138 | 0 | 1350
139 | 0 | 1350
140 | 1350 | 0
141 | 1350 | 0
142 | 0 | 1350
143 | 0 | 1350
144 | 1350 | 0
145 | 1350 | 0
146 | 0 | 1350
147 | 0 | 1350
148 | 1350 | 0
149 | 1350 | 0
150 | 0 | 1350
151 | 0 | 1350
152 | 1350 | 0
153 | 1350 | 0
154 | 0 | 1350
155 | 0 | 1350
156 | 1350 | 0
157 | 1350 | 0
158 | 0 | 1350
159 | 0 | 1350
160 | 1350 | 0
161 | 1350 | 0
162 | 0 | 1350
163 | 0 | 1350
164 | 1350 | 0
165 | 1350 | 0
166 | 0 | 1350
167 | 0 | 1350

## Comparison + Tolerances
Side-by-side cogens vs reference + live tolerance math
Hours 0..N-1 carry the per-step traces. The trailing rows compute annual_sum, peak, NMBE, and CV(RMSE) per metric as live Excel formulas — edit the source data and the verdict recalculates.
hour | combined_charge_ac_kw_cogens | combined_charge_ac_kw_reference | combined_charge_ac_kw_deviation_pct | combined_discharge_ac_kw_cogens | combined_discharge_ac_kw_reference | combined_discharge_ac_kw_deviation_pct
0 | 1350 | 1350 | 0 | 0 | 0
1 | 1350 | 1350 | 0 | 0 | 0
2 | 0 | 0 |  | 1350 | 1350 | 0
3 | 0 | 0 |  | 1350 | 1350 | 0
4 | 1350 | 1350 | 0 | 0 | 0
5 | 1350 | 1350 | 0 | 0 | 0
6 | 0 | 0 |  | 1350 | 1350 | 0
7 | 0 | 0 |  | 1350 | 1350 | 0
8 | 1350 | 1350 | 0 | 0 | 0
9 | 1350 | 1350 | 0 | 0 | 0
10 | 0 | 0 |  | 1350 | 1350 | 0
11 | 0 | 0 |  | 1350 | 1350 | 0
12 | 1350 | 1350 | 0 | 0 | 0
13 | 1350 | 1350 | 0 | 0 | 0
14 | 0 | 0 |  | 1350 | 1350 | 0
15 | 0 | 0 |  | 1350 | 1350 | 0
16 | 1350 | 1350 | 0 | 0 | 0
17 | 1350 | 1350 | 0 | 0 | 0
18 | 0 | 0 |  | 1350 | 1350 | 0
19 | 0 | 0 |  | 1350 | 1350 | 0
20 | 1350 | 1350 | 0 | 0 | 0
21 | 1350 | 1350 | 0 | 0 | 0
22 | 0 | 0 |  | 1350 | 1350 | 0
23 | 0 | 0 |  | 1350 | 1350 | 0
24 | 1350 | 1350 | 0 | 0 | 0
25 | 1350 | 1350 | 0 | 0 | 0
26 | 0 | 0 |  | 1350 | 1350 | 0
27 | 0 | 0 |  | 1350 | 1350 | 0
28 | 1350 | 1350 | 0 | 0 | 0
29 | 1350 | 1350 | 0 | 0 | 0
30 | 0 | 0 |  | 1350 | 1350 | 0
31 | 0 | 0 |  | 1350 | 1350 | 0
32 | 1350 | 1350 | 0 | 0 | 0
33 | 1350 | 1350 | 0 | 0 | 0
34 | 0 | 0 |  | 1350 | 1350 | 0
35 | 0 | 0 |  | 1350 | 1350 | 0
36 | 1350 | 1350 | 0 | 0 | 0
37 | 1350 | 1350 | 0 | 0 | 0
38 | 0 | 0 |  | 1350 | 1350 | 0
39 | 0 | 0 |  | 1350 | 1350 | 0
40 | 1350 | 1350 | 0 | 0 | 0
41 | 1350 | 1350 | 0 | 0 | 0
42 | 0 | 0 |  | 1350 | 1350 | 0
43 | 0 | 0 |  | 1350 | 1350 | 0
44 | 1350 | 1350 | 0 | 0 | 0
45 | 1350 | 1350 | 0 | 0 | 0
46 | 0 | 0 |  | 1350 | 1350 | 0
47 | 0 | 0 |  | 1350 | 1350 | 0
48 | 1350 | 1350 | 0 | 0 | 0
49 | 1350 | 1350 | 0 | 0 | 0
50 | 0 | 0 |  | 1350 | 1350 | 0
51 | 0 | 0 |  | 1350 | 1350 | 0
52 | 1350 | 1350 | 0 | 0 | 0
53 | 1350 | 1350 | 0 | 0 | 0
54 | 0 | 0 |  | 1350 | 1350 | 0
55 | 0 | 0 |  | 1350 | 1350 | 0
56 | 1350 | 1350 | 0 | 0 | 0
57 | 1350 | 1350 | 0 | 0 | 0
58 | 0 | 0 |  | 1350 | 1350 | 0
59 | 0 | 0 |  | 1350 | 1350 | 0
60 | 1350 | 1350 | 0 | 0 | 0
61 | 1350 | 1350 | 0 | 0 | 0
62 | 0 | 0 |  | 1350 | 1350 | 0
63 | 0 | 0 |  | 1350 | 1350 | 0
64 | 1350 | 1350 | 0 | 0 | 0
65 | 1350 | 1350 | 0 | 0 | 0
66 | 0 | 0 |  | 1350 | 1350 | 0
67 | 0 | 0 |  | 1350 | 1350 | 0
68 | 1350 | 1350 | 0 | 0 | 0
69 | 1350 | 1350 | 0 | 0 | 0
70 | 0 | 0 |  | 1350 | 1350 | 0
71 | 0 | 0 |  | 1350 | 1350 | 0
72 | 1350 | 1350 | 0 | 0 | 0
73 | 1350 | 1350 | 0 | 0 | 0
74 | 0 | 0 |  | 1350 | 1350 | 0
75 | 0 | 0 |  | 1350 | 1350 | 0
76 | 1350 | 1350 | 0 | 0 | 0
77 | 1350 | 1350 | 0 | 0 | 0
78 | 0 | 0 |  | 1350 | 1350 | 0
79 | 0 | 0 |  | 1350 | 1350 | 0
80 | 1350 | 1350 | 0 | 0 | 0
81 | 1350 | 1350 | 0 | 0 | 0
82 | 0 | 0 |  | 1350 | 1350 | 0
83 | 0 | 0 |  | 1350 | 1350 | 0
84 | 1350 | 1350 | 0 | 0 | 0
85 | 1350 | 1350 | 0 | 0 | 0
86 | 0 | 0 |  | 1350 | 1350 | 0
87 | 0 | 0 |  | 1350 | 1350 | 0
88 | 1350 | 1350 | 0 | 0 | 0
89 | 1350 | 1350 | 0 | 0 | 0
90 | 0 | 0 |  | 1350 | 1350 | 0
91 | 0 | 0 |  | 1350 | 1350 | 0
92 | 1350 | 1350 | 0 | 0 | 0
93 | 1350 | 1350 | 0 | 0 | 0
94 | 0 | 0 |  | 1350 | 1350 | 0
95 | 0 | 0 |  | 1350 | 1350 | 0
96 | 1350 | 1350 | 0 | 0 | 0
97 | 1350 | 1350 | 0 | 0 | 0
98 | 0 | 0 |  | 1350 | 1350 | 0
99 | 0 | 0 |  | 1350 | 1350 | 0
100 | 1350 | 1350 | 0 | 0 | 0
101 | 1350 | 1350 | 0 | 0 | 0
102 | 0 | 0 |  | 1350 | 1350 | 0
103 | 0 | 0 |  | 1350 | 1350 | 0
104 | 1350 | 1350 | 0 | 0 | 0
105 | 1350 | 1350 | 0 | 0 | 0
106 | 0 | 0 |  | 1350 | 1350 | 0
107 | 0 | 0 |  | 1350 | 1350 | 0
108 | 1350 | 1350 | 0 | 0 | 0
109 | 1350 | 1350 | 0 | 0 | 0
110 | 0 | 0 |  | 1350 | 1350 | 0
111 | 0 | 0 |  | 1350 | 1350 | 0
112 | 1350 | 1350 | 0 | 0 | 0
113 | 1350 | 1350 | 0 | 0 | 0
114 | 0 | 0 |  | 1350 | 1350 | 0
115 | 0 | 0 |  | 1350 | 1350 | 0
116 | 1350 | 1350 | 0 | 0 | 0
117 | 1350 | 1350 | 0 | 0 | 0
118 | 0 | 0 |  | 1350 | 1350 | 0
119 | 0 | 0 |  | 1350 | 1350 | 0
120 | 1350 | 1350 | 0 | 0 | 0
121 | 1350 | 1350 | 0 | 0 | 0
122 | 0 | 0 |  | 1350 | 1350 | 0
123 | 0 | 0 |  | 1350 | 1350 | 0
124 | 1350 | 1350 | 0 | 0 | 0
125 | 1350 | 1350 | 0 | 0 | 0
126 | 0 | 0 |  | 1350 | 1350 | 0
127 | 0 | 0 |  | 1350 | 1350 | 0
128 | 1350 | 1350 | 0 | 0 | 0
129 | 1350 | 1350 | 0 | 0 | 0
130 | 0 | 0 |  | 1350 | 1350 | 0
131 | 0 | 0 |  | 1350 | 1350 | 0
132 | 1350 | 1350 | 0 | 0 | 0
133 | 1350 | 1350 | 0 | 0 | 0
134 | 0 | 0 |  | 1350 | 1350 | 0
135 | 0 | 0 |  | 1350 | 1350 | 0
136 | 1350 | 1350 | 0 | 0 | 0
137 | 1350 | 1350 | 0 | 0 | 0
138 | 0 | 0 |  | 1350 | 1350 | 0
139 | 0 | 0 |  | 1350 | 1350 | 0
140 | 1350 | 1350 | 0 | 0 | 0
141 | 1350 | 1350 | 0 | 0 | 0
142 | 0 | 0 |  | 1350 | 1350 | 0
143 | 0 | 0 |  | 1350 | 1350 | 0
144 | 1350 | 1350 | 0 | 0 | 0
145 | 1350 | 1350 | 0 | 0 | 0
146 | 0 | 0 |  | 1350 | 1350 | 0
147 | 0 | 0 |  | 1350 | 1350 | 0
148 | 1350 | 1350 | 0 | 0 | 0
149 | 1350 | 1350 | 0 | 0 | 0
150 | 0 | 0 |  | 1350 | 1350 | 0
151 | 0 | 0 |  | 1350 | 1350 | 0
152 | 1350 | 1350 | 0 | 0 | 0
153 | 1350 | 1350 | 0 | 0 | 0
154 | 0 | 0 |  | 1350 | 1350 | 0
155 | 0 | 0 |  | 1350 | 1350 | 0
156 | 1350 | 1350 | 0 | 0 | 0
157 | 1350 | 1350 | 0 | 0 | 0
158 | 0 | 0 |  | 1350 | 1350 | 0
159 | 0 | 0 |  | 1350 | 1350 | 0
160 | 1350 | 1350 | 0 | 0 | 0
161 | 1350 | 1350 | 0 | 0 | 0
162 | 0 | 0 |  | 1350 | 1350 | 0
163 | 0 | 0 |  | 1350 | 1350 | 0
164 | 1350 | 1350 | 0 | 0 | 0
165 | 1350 | 1350 | 0 | 0 | 0
166 | 0 | 0 |  | 1350 | 1350 | 0
167 | 0 | 0 |  | 1350 | 1350 | 0
annual_sum | 113400 | 113400 | 0 | 113400 | 113400 | 0
FORMULA: annual_sum
FORMULA: peak
FORMULA: NMBE (%)
FORMULA: CV(RMSE) (%)
TOLERANCE (%) | 10 |  |  | 10
PASS / FAIL

## Gates
Gates scored against this case
Gate name | Metric type | Resolution | Standard | Tolerance (%) | CogenS value | Reference value | Deviation (%) | Passed
a_annual_charge_cog_vs_ep | pct_deviation | annual | ASHRAE Guideline 14-2023 strict (FLAT PCS) | 1 | 8400 | 8400 | 0 | PASS
a_annual_discharge_cog_vs_ep | pct_deviation | annual | ASHRAE Guideline 14-2023 strict (FLAT PCS) | 1 | 8400 | 8400 | 0 | PASS
a_bulk_rte_cog_vs_sam | pct_deviation | annual | ASHRAE Guideline 14-2023 strict (FLAT PCS, +/-5 %) | 5 | 1 | 0.98 | 2.0408 | PASS
b_annual_charge_cog_vs_ep | pct_deviation | annual | ASHRAE Guideline 14-2023 strict (FLAT PCS) | 1 | 105000 | 105000 | 0 | PASS
b_annual_discharge_cog_vs_ep | pct_deviation | annual | ASHRAE Guideline 14-2023 strict (FLAT PCS) | 1 | 105000 | 105000 | 0 | PASS
b_bulk_rte_cog_vs_sam | pct_deviation | annual | ASHRAE Guideline 14-2023 strict (FLAT PCS, +/-5 %) | 5 | 1 | 0.96 | 4.1667 | PASS
combined_annual_charge_cog_vs_ep | pct_deviation | annual | ASHRAE Guideline 14-2023 strict (FLAT PCS) | 1 | 113400 | 113400 | 0 | PASS
combined_annual_discharge_cog_vs_ep | pct_deviation | annual | ASHRAE Guideline 14-2023 strict (FLAT PCS) | 1 | 113400 | 113400 | 0 | PASS
combined_bulk_rte_cog_vs_sam | pct_deviation | annual | ASHRAE Guideline 14-2023 strict (FLAT PCS, +/-5 %) | 5 | 1 | 0.97 | 3.0928 | PASS
cogens_blend_dev_charge | pct_deviation | annual | FEMP M&V Tier 2 +/-5% (two-size composition) | 5 | 113400 | 113400 | 0 | PASS
cogens_blend_dev_discharge | pct_deviation | annual | FEMP M&V Tier 2 +/-5% | 5 | 113400 | 113400 | 0 | PASS
ep_blend_dev_charge | pct_deviation | annual | FEMP M&V Tier 2 +/-5% (reference-side composition) | 5 | 113400 | 113400 | 0 | PASS
ep_blend_dev_discharge | pct_deviation | annual | FEMP M&V Tier 2 +/-5% | 5 | 113400 | 113400 | 0 | PASS
cross_engine_blend_consistency_charge | architectural_difference | annual | Cross-engine consistency (+/-3 %) | 3 | 0 | 0 | 0 | PASS
cross_engine_blend_consistency_discharge | architectural_difference | annual | Cross-engine consistency (+/-3 %) | 3 | 0 | 0 | 0 | PASS

## Charts
CogenS vs Reference — per-step trace